## Face Recognition System
SITE PREPARATION MANAGEMENT CO., LTD.
บริษัท ไซท์ เพรพพาเรชั่น แมเนจเมนท์ จำกัด sitem@sitem.co.th
COMMISSIONING REPORT
UVSS SYSTEM
Project | :________________________________________________ | [9 empty] | Project ID |  | :_________________________
Location | :________________________________________________ | [10 empty] | Date | :_________________________
Brand | : |  |  |  |  | Model |  | :
UNIT DETAIL
1. Controller Brand |  |  | :_________ |  | Model | :_________________________ |  |  |  | Serial no. | :_________________________
2. Camera Brand |  |  | :_________ |  | Model | :_________________________ |  |  |  | Serial no. | :_________________________ |  |  |  | Camera Len | :_________ mm.
3. Scaner |  |  | :_________ |  | Model | :_________________________ |  |  |  | Serial no. | :_________________________
4. PC |  |  | :_________ |  | Model | :_________________________ |  |  |  | Serial no. | :_________________________
VISUAL CHECK
1. Check Unit Installation | [6 empty] | Pass |  | N/A | 5. Loop Sensor Installation |  |  |  |  | Pass |  | N/A
2. Check Electrical Installation | [6 empty] | Pass |  | N/A | 6. Traffic Light |  |  |  |  | Pass |  | N/A
3. Check Power Supply | [6 empty] | Pass |  | N/A | 7. Check Date/Time |  |  |  |  | Pass |  | N/A
4. Check All Cable Connection | [6 empty] | Pass |  | N/A | 8. Access Control Connection |  |  |  |  | Pass |  | N/A
SOFTWARE
1. Software Version |  |  |  | : ______________
CONFIGURATION
1. Controller
1.1 IP Address |  |  | : ______________
1.2 Subnet Mask |  |  | : ______________
1.3 Gateway |  |  | : ______________
1.4 Preferred DNS |  |  | : ______________
1.5 Alternative DNS |  |  | : ______________
2. Camera
2.1 IP Address |  |  | : ______________
2.2 Subnet Mask |  |  | : ______________
2.3 Gateway |  |  | : ______________
2.4 Preferred DNS |  |  | : ______________
2.5 Alternative DNS |  |  | : ______________
2.6 Minimum face |  |  | : ______________
User Management
1. User Management
1.1 User |  | : ______________
1.2 Password |  | : ______________
TEST
1. Object Detection |  |  |  |  | Pass |  | Not Pass |  |  | 3. Loop Sensor Detection |  |  |  | Pass |  | Not Pass
2. Object Detection on Display Screen | [6 empty] | Pass | Not Pass |  | 4. Traffic Light Opestion |  |  |  | Pass |  | Not Pass
Remark ………………………………………………………………………………………………………………………………………………………..
………………………………………………………………………………………………………………………………………………………..
CUSTOMER |  |  |  |  | CHECKED BY |  |  |  |  | TOOL |  |  |  |  | WORK TIME
……………………………………… |  |  |  |  | ……………………………………… |  |  |  |  | ……………………………………… |  |  |  |  | ……./……./……..
(………………………………………) |  |  |  |  | (………………………………………) |  |  |  |  | Other……………………………………………. |  |  |  |  | Start............ - .............
………./………./……….. |  |  |  |  | ………./………./………..
12/8-11 อาคารเอวี ชั้น 4 ถนนเทศบาลสงเคราะห์ ลาดยาว จตุจักร กรุงเทพฯ 10900 โทร. 0-2580-5885 โทรสาร. 0-2588-1717 Hotline : 0-1840-2330